## Hoja1
Zero Counts |  |  |  |  | Device Sensitivity |  | Cristal Sensitivity |  |  | System/Dose Calibration
Name | Measured zero counts | Resulting zero counts | Recalculations | First value | Name | Measured device counts | Name | Measured crystal counts | Crystal sensitivity | Name | Transport | Standard | Calibration counts | Local counts | Calibration Dose [cGy]
a1 | 3163 | 3163 | 0 | 3163 | a1 | 533943 | a1 | 533236 | 0.93631 | a1 | No | Yes | 443052 | 544212 | 100
b1 | 3813 | 3813 | 0 | 3813 | b1 | 525268 | b1 | 526126 | 0.95022 | b1 | No | Yes | 392673 | 535477 | 100
c1 | 3680 | 3680 | 0 | 3680 | c1 | 479226 | c1 | 490692 | 1.0191 | c1 | No | Yes | 353036 | 499478 | 100
a2 | 4773 | 4773 | 0 | 4773 | a2 | 473451 | a2 | 490521 | 1.0217 | a2 | No | Yes | 705807 | 469471 | 200
b2 | 3817 | 3817 | 0 | 3817 | b2 | 525269 | b2 | 539833 | 0.92593 | b2 | No | Yes | 766837 | 512160 | 200
c2 | 5226 | 5226 | 0 | 5226 | c2 | 512737 | c2 | 523650 | 0.95735 | c2 | No | Yes | 753570 | 558150 | 200
a3 | 3680 | 3680 | 0 | 3680 | a3 | 490762 | a3 | 490672 | 1.0194 | a3 | No | Yes | 1134697 | 502351 | 300
b3 | 6474 | 6474 | 0 | 6474 | b3 | 493088 | b3 | 468844 | 1.0734 | b3 | No | Yes | 1114690 | 493452 | 300
c3 | 4705 | 4705 | 0 | 4705 | c3 | 460520 | c3 | 480344 | 1.0435 | c3 | No | Yes | 1033613 | 454169 | 300
a4 | 4661 | 4661 | 0 | 4661 | a4 | 473344 | a4 | 480381 | 1.0433 | a4 | No | Yes | 1488120 | 606683 | 400
b4 | 5078 | 5078 | 0 | 5078 | b4 | 458251 | b4 | 465881 | 1.0771 | b4 | No | Yes | 1415527 | 470937 | 400
c4 | 3581 | 3581 | 0 | 3581 | c4 | 504873 | c4 | 522759 | 0.95596 | c4 | No | Yes | 1504117 | 508333 | 400
a5 | 3955 | 3955 | 0 | 3955 | a5 | 578765 | a5 | 540677 | 0.92471 | a5 | No | Yes | 2217404 | 556200 | 500
b5 | 4855 | 4855 | 0 | 4855 | b5 | 484367 | b5 | 491894 | 0.94517 | b5 | No | Yes | 1798481 | 481496 | 500
c5 | 3742 | 3742 | 0 | 3742 | c5 | 538460 | c5 | 543779 | 0.91904 | c5 | No | Yes | 2035058 | 490549 | 500
a6 | 1692 | 1692 | 0 | 1692 | a6 | 503006 | a6 | 505995 | 0.98416 | a6 | No | Yes | 2368298 | 497822 | 600
b6 | 3961 | 3961 | 0 | 3961 | b6 | 490082 | b6 | 492295 | 1.0163 | b6 | No | Yes | 2293036 | 492085 | 600
c6 | 3523 | 3523 | 0 | 3523 | c6 | 516422 | c6 | 546471 | 0.9099 | c6 | No | Yes | 2420807 | 508543 | 600
a7 | 2631 | 2631 | 0 | 2631 | a7 | 497181 | a7 | 503202 | 0.9915 | a7 | No | Yes | 2731244 | 512724 | 700
b7 | 2698 | 2698 | 0 | 2698 | b7 | 498262 | b7 | 470267 | 1.0615 | b7 | No | Yes | 2695615 | 454543 | 700
c7 | 3457 | 3457 | 0 | 3457 | c7 | 440398 | c7 | 466994 | 1.0707 | c7 | No | Yes | 2398563 | 509085 | 700
a8 | 4939 | 4939 | 0 | 4939 | a8 | 530008 | a8 | 525195 | 0.95398 | a8 | No | Yes | 3331506 | 528693 | 800
b8 | 4460 | 4460 | 0 | 4460 | b8 | 518053 | b8 | 517086 | 0.96818 | b8 | No | Yes | 3295363 | 500102 | 800
c8 | 4938 | 4938 | 0 | 4938 | c8 | 512277 | c8 | 513322 | 0.97626 | c8 | No | Yes | 3295828 | 519947 | 800
a9 | 4294 | 4294 | 0 | 4294 | a9 | 501815 | a9 | 507146 | 0.987 | a9 | No | Yes | 3619919 | 510945 | 900
b9 | 3453 | 3453 | 0 | 3453 | b9 | 510209 | b9 | 509921 | 0.97995 | b9 | No | Yes | 3572935 | 492043 | 900
c9 | 4818 | 4818 | 0 | 4818 | c9 | 485740 | c9 | 488569 | 1.026 | c9 | No | Yes | 3502235 | 498213 | 900
a10 | 2477 | 2477 | 0 | 2477 | a10 | 479995 | a10 | 493810 | 1.1011 | a10 | No | Yes | 3818000 | 454385 | 1000
b10 | 3845 | 3845 | 0 | 3845 | b10 | 528975 | b10 | 530819 | 0.94182 | b10 | No | Yes | 4315177 | 538728 | 1000
c10 | 3859 | 3859 | 0 | 3859 | c10 | 464936 | c10 | 480872 | 1.0405 | c10 | No | Yes | 3817515 | 496078 | 1000
| promedio | 4008.2667 |  |  | promedio | 500322.7667 | promedio | 504708.4333 |  |  |  |  | promedio | 2154424.1
| desviacion estandar % | 24.1065 |  |  | desviacion estandar % | 5.7401 | desviacion estandar % | 4.8769 |  |  |  |  | desviacion estandar % | 55.3169
[5 empty] | Local Exposure Value | 100 | Local Exposure Value | 100
[5 empty] | Device Sensitivity Factor | 4963.145 | Device Sensitivity Factor | 4963.145